## Update2016
Safety Report Update Check for COMAH Regulations 2015
No. | Criteria | Sub-Criteria |  |  | Safety Report Reference
6.1 | The safety report may include the notification form (which is subject to a separate check ). This may satisfy the safety report requirement, which is for a full list of all dangerous substances to be provided. The safety report requires all substances to be identified. | Under Schedule 3, 3(c) (i), the following have been provided for each dangerous substance: | 1 | Chemical name
|  |  | 2 | CAS number
|  |  | 3 | Quantity
|  |  | 4 | H-statements
|  |  | 5 | The information is consistent with the notification.
6.2 | The safety report should satisfy the requirements of Regulation 11(2)(a) - as reflected in Schedule 3. | (2) c) It should contain information on the immediate environment of the establishment, and factors likely to cause a major accident or to aggravate the consequences thereof including, where available: | 1 | Details of neighbouring establishments
| the immediate environment of the establishment, and factors likely to cause a major accident or to aggravate the consequences thereof including, where available, details of neighbouring establishments, of sites that fall outside the scope of this Directive, areas and developments that could be the source of or increase the risk or consequences of a major accident and of domino effects. |  | 2 | Details of (neighbouring) sites that fall outside the scope of this Directive
|  |  | 3 | Details of areas and developments that could be the source of or increase the risk or consequences of a major accident and of domino effects.
|  | 3(b) description of processes, in particular the operating methods | 4 | where applicable, taking into account available information on best practices;
|  | 4 (a) detailed description of the possible major-accident scenarios and their probability or the conditions under which they occur including a summary of the events which may play a role in triggering each of these scenarios, the causes being internal or external to the installation; including in particular: | 5 | (i) operational causes;
|  |  | 6 | (ii) external causes, such as those related to domino effects, sites that fall outside the scope of this Directive, areas and developments that could be the source of, or increase the risk or consequences of a major accident;
|  |  | 7 | (iii) natural causes, for example earthquakes or floods;
|  | 4 (c) Identification and accidental risks analysis and prevention methods: | 8 | review of past accidents and incidents with the same substances and processes used, consideration of lessons learned from these, and explicit reference to specific measures taken to prevent such accidents;
|  | 5. Measures of protection and intervention to limit the consequences of a major accident: | 9 | (a) description of the equipment installed in the plant to limit the consequences of major accidents for human health and environment, including for example detection/protection systems, technical devices for limiting the size of accidental releases, including water spray; vapour screens; emergency catch pots or collection vessels; shut-off-valves; inerting systems; fire water retention;
|  |  | 10 | (d) description of any technical and non-technical measures relevant for the reduction of the impact of a major accident.
6.3 | MAPP – a MAPP which complies with schedule 2 should be included in the safety report. The MAPP should reflect the new requirements of Schedule 2: |  | 1 | a) the safety management system shall be proportionate to the hazards, industrial activities and complexity of the organisation in the establishment and be based on assessment of the risks;
|  | [the following issues shall be addressed by the Safety Management System] | 2 | (b)(i) organisation and personnel — the roles and responsibilities of personnel involved in the management of major hazards at all levels in the organisation, together with the measures taken to raise awareness of the need for continuous improvement. The identification of training needs of such personnel and the provision of the training so identified. The involvement of employees and of subcontracted personnel working in the establishment which are important from the point of view of safety;
|  |  | 3 | b(ii) identification and evaluation of major hazards — adoption and implementation of procedures for systematically identifying major hazards arising from normal and abnormal operation including subcontracted activities where applicable and the assessment of their likelihood and severity;
|  |  | 4 | (b)(iii) operational control — adoption and implementation of procedures and instructions for safe operation, including maintenance, of plant, processes and equipment, and for alarm management and temporary stoppages; taking into account available information on best practices for monitoring and control, with a view to reducing the risk of system failure; management and control of the risks associated with ageing equipment installed in the establishment and corrosion; inventory of the establishment’s equipment, strategy and methodology for monitoring and control of the condition of the equipment; appropriate follow-up actions and any necessary countermeasures;
|  |  | 5 | (b)(vi) monitoring performance — adoption and implementation of procedures for the ongoing assessment of compliance with the objectives set by the operator’s MAPP and safety management system, and the mechanisms for investigation and taking corrective action in case of non-compliance. The procedures shall cover the operator’s system for reporting major accidents or "near misses", particularly those involving failure of protective measures, and their investigation and follow-up on the basis of lessons learnt. The procedures shall also include performance indicators such as safety performance indicators (SPIs) and/or other relevant indicators;
|  |  | 6 | (b) (vii) audit and review — adoption and implementation of procedures for periodic systematic assessment of the MAPP and the effectiveness and suitability of the safety management system; the documented review of performance of the policy and safety management system and its updating by senior management, including consideration and incorporation of necessary changes indicated by the audit and review.
6.4 | Domino effects - Regulation 9(3): | Operators of upper-tier establishments which have been identified by a notification from the Central Competent Authority pursuant to paragraph (2) | 1 | shall co-operate with each other in informing the public under Regulation 25 and neighbouring sites that fall outside the scope of these Regulations, and supplying information to the local competent authorities whose function it is to prepare external emergency plans under Regulation 16(1).
6.5 | Modifications and advance notification | The safety report should acknowledge and take account of the following changes: | 1 | The requirements of Regulation 12 in relation to modifications and the requirement for review of notification, MAPP and safety report in advance and the requirement in Regulation 12(2) to notify the CCA in advance and in sufficient time to carry out its functions under Regulation 24.
6.6 | External Emergency Planning |  | 1 | That the information required by Regulation 16(2) has been supplied to the LCAs and that sufficient information has been made available on the EEP by the LCA to enable the IEP to be drawn up.
6.7 | Operator duty of assistance |  | 1 | The duty in Regulation 7(3) to provide the CCA to with all assistance necessary to carry out inspections and gather any information necessary to perform its functions.
6.8 | Public Information |  | 1 | That the LCAs were consulted on the content of the information provided to the public under Regulation 25(4).
6.9 | Notifiable incidents |  | 5 | The incidents in Schedule 7 that are to be the notified under Regulation 29 (also that there is no longer a requirement to maintain a register of notifiable incidents).
6.1 | Public Information |  | 6 | The operator duty to supply relevant information every 5 years and to review it periodically and if necessary update and supply it including in the event of modifications covered by Regulation 12 (the previous requirement was to review this information every 3 years)
|  |  | 7 | Provision of information to the public by the operator should take into account the requirements of Regulations 25(4) and 25(5).